## Cover Page
Estimation & Schedule
Tên dự án: Thiết bị chống cháy Mã dự án: ITSSK59_N2 Phiên bản: 1 Ngày tạo: 25/4 Ngày bắt đầu: 11/4 Ngày kết thúc: 2/5 Hiệu quả dự án:

## Record Of Changes
Record of Changes
Effective Date | Change Item | A/M/D(*) | Reason | Change Description | Creator | Reviewer / Approver | New version
2018-04-04 | Điện trở | M | Điện trở quá cao làm đèn sáng yếu | 1 | Longnt | Khoapv
2018-04-07 | Cảm biến nhiệt | A | Thêm cảm biến nhiệt vào ver1 (cảm biến gas, loa) | 1 | Longnt | Khoapv | 1.1
2018-04-11 | Cảm biến ánh sáng | A | Thêm cảm biến ánh sáng | 1.1 | Longnt | Khoapv | 1.2
2018-04-21 | Màn hình LCD | A | Hiển thị thông báo lên màn hình xem có chính xác không | 1.2 | Longnt | Khoapv | 1.3
2018-04-18 | Cảm biến ánh sáng | M | Đấu nhầm chân A0 | 1.3 | Longnt | Khoapv

## 1_ Introduction
Introduction
The Test Plan outlines the scope, approach, resources, and schedule of all testing activities. It identifies the items and features to be tested; types of testing; resource equirements; and an approach to project management.
Identifier
ThiếtBịChốngCháy_TestPlan
About Tested Item
Thiết bị chống cháy, gồm 3 cảm biến: nhiệt, ánh sáng, và khói.
Khi 1 trong 3 cảm biến vượt qua 1 ngưỡng sẽ dùng loa áp điện để báo.
Objectives
Test plan for the project should support the following objectives:
To detail the activities required to prepare for and conduct the system test
To communicate to all responsible parties the tasks that they are to perform and the schedule to be followed in performing the tasks
To define the sources of the information used to prepare the plan
To define the test tools and environment needed to conduct the system test
Background
- Đây là dự án đầu tiên
- Phiên bản step 2 của một dự án có trước, được hoàn thành 1/5/2017, do thầy Tiến quản lý
- Đây là dự án liên quan đến bảo trì nên nội dung chính là test
Document Overview
Outline the main sections in this document, include:
Section 1 - Introduction about the Project Testing Process
Section 2 - Test Items
Section 3 - Approach
Section 4 - Define Pass/Fail/Suspension/Resumption Criterias
Section 5 - Project Management
Section 6 - Project Team
Section 7 - Specify environmental requirements about software, hardware and others
Section 8 - Delivery Schedule
Approval
The final section is appendix
Testing Strategy
For each level of testing, prepare a separate test plan with the following set of deliverables:
Features to be tested
Items to be tested
Management and technical approach
Milestones
Pass / Fail criteria
Purpose for testing
Risks, assumptions, and constraints
Roles and responsibilities
Schedules
Scope
Describe the scope (i.e. parameters) for the test plan(s). Also, list any areas specifically excluded
from the plans. Outline how scheduled and unscheduled updates to the Software Test Plan will
be managed.
This document covers a full systems test of the project. This includes operator and user procedures,
as well as programs and job control. In addition to comprehensively testing multi program
functionality, external interfaces, environment, performance and stability will also be evaluated.
Description about Abnormal Test is also a part of this document.
Reference Material
| 1 | Word Order | : | ProjectCode_WorkOrder_Vx.x_YYYYMMDD.doc
| 2 | Project Plan | : | ProjectCode_Estimation&Schedule_Vx.x_YYYYMMDD.xls
| 3 | Configuration Management Plan | : | ProjectCode_CM Plan_Vx.x_YYYYMMDD.doc
| 4 | Software Requirement Specification | : | ProjectCode_SRS_Vx.x_YYYYMMDD.xls
| 5 | User Requirement Defination | : | ProjectCode_URD_Vx.x_YYYYMMDD.xls

## 2_ Test Items
Test Items
All items that make up the project {ProjectName} will be tested during the system test. The versions to be tested will be placed in the appropriate libraries by the conﬁguration administrator. The administrator will also control changes to the versions under test and notify the test group when new versions are available
Operation Documents
| 1 | Test Specification |  |  | : | ProjectCode_TestSpec_Vx.x_YYYYMMDD.doc
| 2 | Test Case |  |  | : | ProjectCode_TestCase_Vx.x_YYYYMMDD.doc
| 3 | Design specification |  |  | : | ProjectCode_ExternalDesign
| 4 | Design specification |  |  | : | ProjectCode_ExternalDesign
| 5 | Users guide |  |  | : | ProjectCode_UserGuide
| 6 | Installation guide |  |  | : | ProjectCode_InstallationGuide
Program Modules
| No. |  | Type |  | Package
| 1 |  | Source Code |  | ProjectCode_Source.zip
| 2 |  | Setup Package |  | ProjectCode_Setup.exe
Feature To Be Tested
| No. |  |  | Test Specification |  |  |  |  | Description
| 1 |  | ProjectCode_TestSpec_Security |  |  |  | Security
| 2 |  | ProjectCode_TestSpec_Recovery |  |  |  | Recovery
| 3 |  | ProjectCode_TestSpec / Sheet Performance |  |  |  | Performance
| 4 |  | ProjectCode_TestCase / Sheet General Users |  |  |  | Processing for general users
| 5 |  | ProjectCode_TestCase / Sheet Spec:Admin |  |  |  | Processing for administrator
Feature Not To Be Tested
The following features will not be included in the system tests because they are not to be used when the system is initially installed:
| 1 | Equal Employment Opportunity Commission Compliance Reports
| 2 | Internal Training Schedule Reports
The development Phase 2.0 documentation will contain a test plan for these features.
Identify why the feature is not to be tested, there can be any number of reasons.
Not to be included in this release of the Software.
Low risk, has been used before and was considered stable.
Will be released but not tested or documented as a functional part of the release of this version of the software.
| No. |  | Non Test Specification |  |  |  |  | Reason
| 1 |  | Only test with calling and play after calling immediately, exit Media Player. Not support Stop when playing, Play after stopped, minimizing activities, or any other activity of Media Player. |  |  |  |  | It is useless with the purpose of project
| 2 |  | Exceptions of Fields of Data Files, such as invalid value, out of range value,etc. Note that, Exceptions of Data File still be tested, such as no file, etc. |  |  |  |  | Data File is only read/written from program by user according to XML standard. So user will not edit this file directly by some editor program. Exception of Fields only occur when writing process or someone edit this file manually. This case is very

## 3_ Approach
Approach
Identify the different types of testing and the methods and criteria for performing the test activities. For each level of testing, prepare a test plan and the appropriate set of deliverables.
Unit Testing
Describe how Unit Testing will be conducted to verify the implementation of each software element or collection of software elements.
Intergration Testing - System Testing
Describe how Integration Testing will be conducted on software and hardware elements, until the entire system has been integrated. This ensures that the design objectives are met and that the software complies with operational requirements.
Conversion Testing
Elements (and historical data) are converted from the previous system format to the new system format
Interface Testing
Describe how Interface Testing will be conducted to ensure that the
application operates efficiently outside the application boundary.
Security Testing
Describe how Security Testing will be conducted so that the application
systems control and auditability features are functional
Recovery Testing
Describe how Recovery Testing will be conducted to ensure that the
application’s restart, backup, and recovery facilities operate as designed.
Performance Testing
Describe how Performance Testing will be conducted to ensure that the
application performs to customer expectations (e.g. response time).
Regression Testing
Describe how Regression Testing will be conducted to ensure that changes
to the application have not adversely affected previously tested functionality
Acceptance Testing
Describe how Acceptance Testing will be conducted to ensure that the
system satisfies the acceptance criteria.
Beta Testing
Describe how Beta Testing will be conducted to detect application faults,
failures, and defects.

## 4_ Criterias
Criterias
Specify the criteria to be used to determine whether each test item has passed or failed testing.
Pass Criteria
The system must also satisfy the following requirements:
| · | Memory requirements must not be greater than 64K of real storage
| · | Consistency of user procedures with other systems must satisfy this product
Fail Criteria
Suspension Criteria
Inability to convert the Employee Information Database will cause suspension of
all testing activities
Resumption Criteria
When a new version of the system is transmitted to the test group after a
suspension of testing has occurred, a regression test as described in 6.7 will be run.

## 5_ Test Management
Test Management
Test Deliverables
| 1 | Test Specification
| 2 | Test Item Transmittal Reports
| 3 | Test Incident Reports
| 4 | Test Sumary Report
| 5 | Test Input Data and Test Output Data
| 6 | Test Tool
Testing Task
| No |  | Task | Predecessor Tasks |  | Special skills | Responsibility | Effort | Finish Date
| 1 |  | Prepare test plan | Complete design description and preliminary development plan |  | Excel | QA | 4
2
3
4
5
Risk & Contigencies
Inability to convert the Employee Information Database will cause suspension of all testing activities
Identify the high-risk assumptions of the test plan:
| · | Specify contingency plans for each (e.g., delayed delivery of test items might require increased night shift scheduling to meet the delivery date)
| · | Example: If the testing schedule is significantly impacted by system failure, the development manager has agreed to assign a full-time person to the test group to do
debugging
| · | Example: If hardware problems impact system availability during the day, then the test group will schedule their activities during the evening or on Sunday
| · | Example: If the necessary resources are insufficient, the person who is responsible for project must report and get enough materials

## 6_ Project Team
Project Team
Responsibilies
Developement Project Group:
This group transmits the system to be tested and responds to the System Test Incident Reports. This group does any program debugging that is required. It also supplies the database auditor. (See Estimate&Schedule document, section Resource Planned)
System Test Group
This group provides the overall management of the testing and the technical testing expertise.
(See Estimate&Schedule document, section Resource Planned, or following content)
Jobs Of Each Role
See Job Process RADIO document
Staffing and Training Needs
System Test Group
| No |  | Name | Role/Position | Contact Info |  | Start Date | End Date | Working Time |  | Qualification Information
| 1 |  |  | Supervisor |  |  | <YYYY/MM/DD> | <YYYY/MM/DD>
| 2 |  |  | QA |  |  | <YYYY/MM/DD> | <YYYY/MM/DD>
| 3 |  |  | PQA |  |  | <YYYY/MM/DD> | <YYYY/MM/DD>
| 4 |  |  | Tester |  |  | <YYYY/MM/DD> | <YYYY/MM/DD>
Trainning
| No |  | Skill | Role/Position | Resources |  |  |  | Start Date | End Date |  | Status
| 1 |  | Using Test Link | Tester1, QA | TestLink UserGuide, Learning Meeting |  |  |  | <YYYY/MM/DD> | <YYYY/MM/DD> |  | Not yet
| 2 |  | Using DMS | [5 empty] | <YYYY/MM/DD> | <YYYY/MM/DD>
| 3 | [7 empty] | <YYYY/MM/DD> | <YYYY/MM/DD>
| 4 | [7 empty] | <YYYY/MM/DD> | <YYYY/MM/DD>
| 5 | [7 empty] | <YYYY/MM/DD> | <YYYY/MM/DD>

## 7_ Environmental Requirements
Environmental Requirements
Hardware
| 1. | Router AR450S
| 2. | At least 4 PCs have 2 network cards
Software
| 1. | Operating System:
|  |  | + | Windows XP, 2003
|  |  | + | Linux CentOS 4.x
| 2. | Database:
|  |  | + | PostgreSQL version 8.1.x or later
|  |  | + | Oracle 9i or later
Security
| - | No special requirement
| - | Security will be limited to existing controls
Tools
The following test tools are required to support systems testing:
| 1 | Web Application Stress
Microsoft's Web Application Stress Tool provides an easy way to simulate large numbers of users against your Web application. This tool makes it possible to make intelligent decisions about hardware and software load incurred by your application and how much traffic a given machine or group of machines can handle. In this article Rick shows how the tool works and how to properly interpret the performance data it generates
| 2 | Router Simulator
Router simulator is a simple program which executes the communication of master host with Router, follow a defined scenario. If use this simulator, you do not need Router to test Server Defense system. The difference with Serial_Port is Router Simulator contain multi states
| 3 | CPU Killer
To change the CPU Load exactly, affect the real performance of CPU
| 4 | Max CPU Killer
To change the CPU Load exactly, doesn’t affect the real performance of CPU
Documents
The following documents are required to support systems testing:
| - | Statement of Requirements
| - | Design Description
| - | User Guide
| - | Installationg Guide
| - | WAS_UserGuide
| - | Snort_UserGuide
| - | RouterSim_InstallationUserGuide

## 8_ Delivery Schedule
Delivery Schedule
No | Deliverable | Description | Delivery date | Middle | Final | Delivery location | Document Reference | Note
|  |  | <YYYY/MM/DD> | O |  |  | <Patch of Release Note docs>
O

## Approval
Approval
Disclaimers
The information contained in this document is the proprietary and exclusive property of AI&T except as otherwise indicated. No part of this document, in whole or in part, may be reproduced, stored, transmitted, r used for design purposes without the prior written permission of AI&T. The information contained in this document is subject to change without notice. The information in this document is provided for informational purposes only. AI&T specifically disclaims all warranties, express or limited, including, but not limited, to the implied warranties of merchantability and fitness for a particular purpose, except as provided for in a separate software license agreement.
Privacy Information
This document may contain information of a sensitive nature. This information should not be given to persons other than those who are involved in the project or who will become involved during the lifecycle.
Document Owner
The primary contact for questions regarding this document is:
| Author | :
| Project Name | :
| Project Sign | :
| Phone | : | +84 4 7624015
| Email | :
Document Approval
| Test Manager |  |  |  | Date | Note:
| Project Leader |  |  |  | Date
| QA Manager |  |  |  | Date

## Appendix
Appendix
No | Term |  |  | Description
1 | design level | The design decomposition of the software item (e.g., system, subsystem, program, or module)
2 | pass/fail criteria | Decision rules used to determine whether a software item or a software feature passes or fails a test
3 | software feature | A distinguishing characteristic of a software item (e.g., performance, portability, or functionality)
4 | software item | Source code, object code, job control code, control data, or a collection of these items
5 | test | A set of one or more test cases, or A set of one or more test procedures, or A set of one or more test cases and procedures
6 | test case speciﬁcation | A document specifying inputs, predicted results, and a set of execution conditions for a test item
7 | test design speciﬁcation | A document specifying the details of the test approach for a software feature or combination of software features and identifying the associated tests
8 | test incident report | A document reporting on any event that occurs during the testing process which requires investigation
9 | testing | The process of analyzing a software item to detect the differences between existing and required conditions (that is, bugs) and to evaluate the features of the software item
10 | test item | A software item which is an object of testing
11 | test item transmittal report | A document identifying test items. It contains current status and location information
12 | test log | A chronological record of relevant details about the execution of tests
13 | test plan | A document describing the scope, approach, resources, and schedule of intended testing activities. It identiﬁes test items, the features to be tested, the testing tasks, who will do each task, and any risks requiring contingency planning
14 | test procedure speciﬁcation | A document specifying a sequence of actions for the execution of a test
15 | test summary report | A document summarizing testing activities and results. It also contains an evaluation of the corresponding test items